## Slide 1: High Rise Structure Assignment
ISLAVATH MOHAN NAIK
21CE31006

## Slide 2: General details
Dimension: 56m x 36m
Number of floors: 51 (G+50)
City: Gandhinagar
Seismic zone: Zone III
Wind base speed: 45 m/s
Grade of concrete: M30
Grade of steel: Fe500

## Slide 3: Plan of the building
All dimensions are in meters

## Slide 4: Preliminary Submissions in January

## Slide 5: Beam-Column Layout

## Slide 6: Column details
Floor | Size | Reinforcements
Ground floor - 10 | 1.8m x 1.8m | 36-32phi 10phi @ 300mm
11 - 40 | 1.5m x 1.5m | 20-32phi 10phi @ 300mm
41 - 50 | 1.2m x 1.2m | 16-32phi 10phi @ 300mm

## Slide 7: Beam details
Floor | Size | Reinforcements
All beams | 0.6m x 0.3m | Top: 3-32 phi Bottom: 3-32 phi Stirrups: 10 phi @ 200mm c/c

## Slide 8: Slab details
Floor | Depth | Reinforcements
All slabs | 0.15m | Longitudinal reinforcements: 276 sq. mm/m Transverse reinforcements : 276 sq. mm/m

## Slide 9: Final Submissions in April

## Slide 10: Beam-Column Layout

## Slide 11: Column details
Column | Floor | Size | Reinforcements
A1-A24, E1-E24, L1-L24, P1-P24, B1,B9,B16,B24, C1,C9,C16,C24, D1,D9,D16,D24, F1,F9,F16,F24, G1,G9,G16,G24, H1,H9,H16,H24, I1,I9,I16,I24, J1,J9,J16,J24, K1,K9,K16,K24, M1,M9,M16,M24, N1,N9,N16,N24, O1,O9,O16,O24 | Ground floor - 10 | 0.8m x 0.8m | 24-32phi 10phi @ 300mm c/c
 | 11 - 40 | 0.7m x 0.7m | 8-32phi 10phi @ 300mm c/c
 | 41 - 50 | 0.6m x 0.6m | 8-32phi 10phi @ 300mm c/c
C5,C20, G5,G11,G14,G20, J5,J11,J14,J20, N5,N20 | Ground floor - 10 | 1.5m x 1.5m | 84-32phi 10phi @ 300mm c/c
 | 11 - 40 | 1.2m x 1.2m | 28-32phi 10phi @ 300mm c/c
 | 41 - 50 | 1.0m x 1.0m | 16-32phi 10phi @ 300mm c/c

## Slide 12: Beam details
Floor | Size | Reinforcements
All beams | 0.6m x 0.3m | Top: 3-32 phi Bottom: 3-32 phi Stirrups: 10 phi @ 185mm c/c

## Slide 13: Slab details
Floor | Depth | Reinforcements
All slabs | 0.15m | Longitudinal reinforcements: 276 sq. mm/m Transverse reinforcements : 276 sq. mm/m

## Slide 14: Shear wall details
Floor | Depth | Reinforcements
All slabs | 0.3m | Longitudinal reinforcements: 396 sq. mm/m Transverse reinforcements : 396 sq. mm/m

## Slide 15: Output comparison
Initial | Final
0.0024 | 0.00182
Drift

## Slide 16: Loads
Dead Load
Self weight
Wall load = 7kN/m (200mm thickness)
Floor finish = 1kN/m^2
Live Load
Floor load = 4kN/m^2

## Slide 17: Loads (continued)
Wind Load
Pd (kN/m^2) | Height (m)
0.973 | 0
1.167 | 25
1.332 | 50
1.413 | 75
1.496 | 100
1.545 | 125
1.595 | 150
1.617 | 172.8

## Slide 18: Load combinations
1.5DL + 1.5 LL
1.2DL + 1.2LL ± 1.2EL (X and Z)
1.2DL + 1.2LL ± 1.2WL (X and Z)
1.5DL ± 1.5EL (X and Z)
1.5DL ± 1.5WL (X and Z)
0.9DL ± 1.5EL (X and Z)
0.9DL ± 1.5WL (X and Z)

## Slide 19: Mistakes done in preliminary submission
Very large column sizes
No shear wall provided
Drift exceeded the standard limit
Floor finish not considered in Dead Load
Designed it as a mid-rise building which resulted in such high drift

## Slide 20: Lessons learnt and adopted in final submission
To reduce the column size, bundled-tube structural form has been used
Shear walls have been provided
Introduced floor finish
Drift reduced from 0.0024 to 0.00184 (within standard limits)

## Slide 21: Special features for lateral force resistance
Bundled tube structural form has been used
Shear walls have been incorporated

## Slide 22: Conclusion
The structural form and shear wall together reduced the drift of the structure
Designing the building in a certain structural form rather than like a regular mid-rise building has benefits